## Slide 1
How to make
2 channel high voltage amplifier
Mar. 13th, 2020
Seongho Kim

## Slide 2: Main Components
Microcontroller
Infrared LED
DCDC Converter
Transistor
100Ω Resistor
Opto Diode

## Slide 3: Other Components
Toggle switch
DC Power Jack
DC 24V 3A Adapter
DCDC Converter
(24V  5V)
Crocodile Clip & Banana Connector
JTAG

## Slide 4: Main Components
Microcontroller
Infrared LED
DCDC Converter
Transistor
100Ω Resistor
Opto Diode
Microcontroller
→ Microcontroller
It controls the low voltage circuit

## Slide 5: Main Components
Microcontroller
Infrared LED
DCDC Converter
Transistor
100Ω Resistor
Opto Diode
DCDC Converter
→ DCDC Converter
It changes low voltage to high voltage

## Slide 6: Main Components
Microcontroller
Infrared LED
DCDC Converter
Transistor
100Ω Resistor
Opto Diode
Infrared LED
Opto Diode
→ Opto coupler = ( Opto diode + IR LED )
It is a device that transfers electrical signals between two
electrically isolated circuits through light energy.
If high voltage is applied to microcontroller,
it is out of order.
So, It is used to divide circuit into low voltage circuit
and high voltage circuit.

## Slide 7: Main Components
Microcontroller
Infrared LED
DCDC Converter
Transistor
100Ω Resistor
Opto Diode
Transistor
100Ω Resistor
→ Transistor and Resistor
It is used to control the IR LED

## Slide 8: 1Ch High Voltage Amplifier Circuit Diagram
Micro
controller
Opto diode
IR LED
Actuator
5V
5V
DCDC
Converter
0V~3.3kV
(Output)
24V
GPIO
(Signal 1)
DAC
GPIO
(Signal 2)
Low Voltage Circuit
High Voltage Circuit

## Slide 9: Signal control
Actuator
OV
3.3V
3.3V
3.3V
OV
OV
OV
OV
OV
3.3V
3.3V
3.3V
1ms
Time
Off
On
On
On
Off
Off
Signal 2
Signal 1
※ = (( 1000 / Frequency ) - 2) / 2
= 500 / Frequency - 1

## Slide 10: Making High Voltage Amplifier
: Ch1
: Ch2
: Signal(GPIO)
: DAC
< Ch 1 >
Actuator
Ch1 : D12 (1번), D14 (2번), DAC A4
Ch2 : D8 (1번), D10 (2번), DAC A5
1번
2번
L
H
GND
Crocodile clip & Banana connector

## Slide 11: Making High Voltage Amplifier
24V
GND
DAC
Not use
GND

## Slide 12: Making High Voltage Amplifier
GND
(-)
L
H
On
Off
5V
24V
24V
GND
24V
(+)
Not
use
On
24V

## Slide 13: 2Ch High Voltage Amplifier
< Front >
< Back >

## Slide 14: Program
※ Dynamic = 0~300 Hz
※ Voltage = 0~3300 V

## Slide 15
Thank you